{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Kontakt","Fyskem","Metaller","Samlade månadskommentarer","Syreprofiler"],"not_rendered":{"charts":3,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Kontakt","index":0,"n_rows":26,"n_cols":6,"rows_kept":26,"cut":false,"hidden":false,"merged":[[16,0,16,6],[15,0,15,6],[3,0,3,6]]}
["Österlens Vattenråd - RECIPIENTKONTROLL  2023"]
[]
[]
["Konsult"]
[null,"SGS Analytics Sweden AB",null,null,null,"Postadress:"]
[null,"Marie Petersson",null,null,null,"SGS Analytics Sweden AB"]
[null,"Miljökonsult",null,null,null,"Box 1083"]
[null,"Tel: 0736-33 83 05",null,null,null,"581 10 LINKÖPING"]
[]
[null,"e-post:"]
[null,"marie.petersson@sgs.com"]
[]
[null,"hemsida:"]
[null,"sgs.com/analytics-se"]
[]
[]
["Uppdragsgivare"]
[null,"Österlens Vattenråd",null,null,null,"Postadress:"]
[null,"Jeanette Qamar",null,null,null,"Österlens Vattenråd"]
[null,null,null,null,null,"c/o Simrishamns kommun"]
[null,null,null,null,null,"Att. Jenny Davidsson"]
[null,"e-post:",null,null,null,"272 80 Simrishamn"]
[null,"info@osterlensvattenrad.se"]
[]
[null,"hemsida:"]
[null,"www.osterlensvattenrad.se"]

{"sheet":"Fyskem","index":1,"n_rows":160,"n_cols":17,"rows_kept":160,"cut":false,"hidden":false,"merged":[[148,13,148,14],[158,13,158,14]]}
["Österlens Vattenråd - RECIPIENTKONTROLL  2023"]
[null,null,null,null,"Tem ",null,"Klo","Led","Tur","Abs",null,"Syr","Syre"]
[null,null,null,"Vatten","pera","Sikt-","ro","nings","bidi",420,null,"gas ","mätt","Total","Fosfat","Total","Prov-"]
["PROVPUNKT","ID","Datum","föring","tur","djup","fyll","förm","tet","filtr","TOC","halt","nad","fosfor","fosfor","kväve","nummer"]
[null,null,null,"L/M/H","°C","m","µg/l","mS/m","FNU","/5cm","mg/l","mg/l","%","µg/l","µg/l","µg/l"]
["Segesholmsån vid S Gaddaröd","SE6","2023-04-21","M",10.5,null,null,20.9,1.3,null,null,11.7,105,13,null,1400,23159778]
[null,"SE6","2023-10-24","M",8.6,null,null,19,2.1,null,null,11,95,30,null,2000,23429832]
["Segesholmsån uppst Degeberga ARV","SE2","2023-02-17","M",5.8,null,null,29,2.9,7.8E-2,8.1999999999999993,11.6,95,30,null,2600,23067074]
[null,"SE2","2023-04-21","M",9.8000000000000007,null,null,34,1.4,7.9000000000000001E-2,5.2,11.2,98,17,null,2200,23159779]
[null,"SE2","2023-05-23","M",10,null,null,41.4,0.87,3.2000000000000001E-2,3.2,9.9,88,21,null,2100,23215156]
[null,"SE2","2023-06-22","M",13.8,null,null,41,1.8,0.03,2.6,9.1999999999999993,89,34,null,1700,23256920]
[null,"SE2","2023-07-28","M",11.4,null,null,40.200000000000003,0.73,2.1000000000000001E-2,2.2999999999999998,8.6,79,28,null,1700,23301860]
[null,"SE2","2023-08-18","M",12.5,null,null,39.1,0.82,5.8999999999999997E-2,5,9,84,27,null,1700,23316027]
[null,"SE2","2023-09-27","M",10.8,null,null,41.5,0.82,0.03,2.7,8.9,80,28,null,1700,23391491]
[null,"SE2","2023-10-24","M",8.8000000000000007,null,null,27.9,2.2999999999999998,0.21,14,10.3,93,32,null,2700,23429826]
[null,"SE2","2023-12-27","H",3.4,null,null,22.6,1.2,0.17,12,13,97.1,23,null,2300,23567706]
["Segesholmsån nedst Degeberga ARV","SE1","2023-02-17","M",5.8,null,null,31.5,11,8.5999999999999993E-2,8.1,11.9,97,39,null,2900,23067073]
[null,"SE1","2023-04-21","M",10.1,null,null,34.5,2.4,7.2999999999999995E-2,5.0999999999999996,11.8,104,19,null,2400,23159780]
[null,"SE1","2023-05-23","M",10.5,null,null,41.9,1.6,3.6999999999999998E-2,3.3,11.1,100,19,null,2200,23215155]
[null,"SE1","2023-06-22","M",15.1,null,null,42.4,3.8,0.04,3.1,9.8000000000000007,97,41,null,1800,23256915]
[null,"SE1","2023-07-28","M",12.7,null,null,41,1.5,1.7999999999999999E-2,2.8,9.8000000000000007,94,43,null,1800,23301859]
[null,"SE1","2023-08-18","M",13.4,null,null,39.799999999999997,1.5,6.2E-2,5.5,9.9,94,35,null,2100,23316026]
[null,"SE1","2023-09-27","M",11.6,null,null,41.8,1.6,2.5000000000000001E-2,3.1,10,91,27,null,1800,23391490]
[null,"SE1","2023-10-24","M/H",8.8000000000000007,null,null,28.3,2,0.21,14,11,95,25,null,2900,23429828]
[null,"SE1","2023-12-27","H",3.4,null,null,22.6,1.7,0.17,12,13.24,98.9,25,null,2400,23541202]
["Julebodaån, bifl vid Myrestad","JU5","2023-04-21","M",9.1999999999999993,null,null,28.9,0.76,null,null,11.5,95,17,null,2900,23159777]
[null,"JU5","2023-10-24","M",9.1999999999999993,null,null,40.799999999999997,1.8,null,null,9.6999999999999993,84,49,null,5100,23429836]
["Julebodaån uppst Maglehem ARV","JU2","2023-02-17","M",5.5,null,null,30.2,6.1,0.08,9.6,12.2,99,39,null,2700,23067072]
[null,"JU2","2023-04-21","M",9,null,null,31.5,1.1000000000000001,7.8E-2,6.2,12.2,105,17,null,2100,23159769]
[null,"JU2","2023-05-23","M",10,null,null,35.1,1.2,6.3E-2,5.9,11.1,98,21,null,1400,23215154]
[null,"JU2","2023-06-22","M",14.5,null,null,34.5,1.4,0.05,5.3,9.9,97,40,null,1100,23256912]
[null,"JU2","2023-07-28","M",12.8,null,null,34.5,2,0.04,4.7,10,96,36,null,1000,23301858]
[null,"JU2","2023-08-18","M",13.9,null,null,36,3.1,5.7000000000000002E-2,6,9.9,95,34,null,1100,23316025]
[null,"JU2","2023-09-27","M",11.6,null,null,36.1,1.3,4.4999999999999998E-2,4.4000000000000004,10.4,95,24,null,990,23391489]
[null,"JU2","2023-10-24","M",8.9,null,null,40.5,3.1,0.15,13,10.6,91,130,null,3400,23429839]
[null,"JU2","2023-12-27","H",3.3,null,null,22,1.7,0.16,12,13.45,100,25,null,2600,23541201]
["Verkeån vid SO Önneköp","VE16","2023-02-17","M",4.0999999999999996,null,null,29.2,2,0.2,13,10.8,85,36,null,4100,23067067]
[null,"VE16","2023-04-21","M",4.9000000000000004,null,null,29.8,2.8,0.2,12,10.8,85,48,null,3100,23159763]
[null,"VE16","2023-05-23","M",11.6,null,null,36.5,3.9,0.17,12,9.3000000000000007,87,90,null,2500,23215146]
[null,"VE16","2023-06-22","M",15,null,null,42.9,5.4,0.13,11,7.5,75,120,null,1500,23256900]
[null,"VE16","2023-07-28","M",14.7,null,null,37.200000000000003,3.5,0.1,9.3000000000000007,9,90,86,null,1100,23301853]
[null,"VE16","2023-08-18","M",15.5,null,null,35.299999999999997,1.4,0.32,20,8.1,81,53,null,2600,23316020]
[null,"VE16","2023-09-27","M",13,null,null,38.799999999999997,20,0.19,18,9.3000000000000007,88,150,null,2400,23391483]
[null,"VE16","-","inget prov","",null,null,"","","","","","","",null,"",""]
[null,"VE16","2023-12-27","M",2.5,null,null,20.7,1.8,0.35,18,11.13,82.5,44,null,3300,23541195]
["Verkeån uppst Illstorp","VE20","2023-02-17","M",4.3,null,null,16.7,5.5,0.45,25,11.3,89,42,null,1500,23067068]
[null,"VE20","2023-04-21","M",4.8,null,null,19.600000000000001,1.9,0.36,17,11.7,91,25,null,920,23159764]
[null,"VE20","2023-05-23","M",10.199999999999999,null,null,28.6,2.4,0.17,9.5,9.9,91,29,null,720,23215148]
[null,"VE20","2023-06-22","M",14.9,null,null,30.7,2.7,0.14000000000000001,8.9,8.5,85,41,null,620,23256904]
[null,"VE20","2023-07-28","M",12.8,null,null,28.7,2,0.21,13,9.1,88,39,null,650,23301854]
[null,"VE20","2023-08-18","M",14.3,null,null,25.8,2.1,0.47,24,8.6,85,40,null,1000,23316021]
[null,"VE20","2023-09-27","M",11.6,null,null,29.9,2,0.18,12,8.6999999999999993,80,24,null,560,23391484]
[null,"VE20","2023-10-24","M",8.4,null,null,17.8,2.6,0.9,50,8.6999999999999993,75,42,null,2900,23429850]
[null,"VE20","2023-12-27","H",2.7,null,null,10.6,2.1,0.85,40,11.18,83.3,34,null,2100,23541196]
["Verkeån, biflöde från Christinehof","VE19","2023-02-17","M",3.8,null,null,18.7,7,0.16,11,11.7,91,35,null,1600,23067069]
[null,"VE19","2023-04-21","M",8.4,null,null,20,6.5,0.23,13,10.8,92,55,null,920,23159765]
[null,"VE19","2023-05-23","M",12,null,null,24.9,8.6999999999999993,0.22,13,9.1,87,58,null,1100,23215149]
[null,"VE19","2023-06-22","M",15.6,null,null,24.7,17,0.18,15,8.1999999999999993,83,63,null,1200,23256905]
[null,"VE19","2023-07-28","M",13.7,null,null,23.2,12,0.18,14,8.6,85,46,null,1200,23301855]
[null,"VE19","2023-08-18","M",16.399999999999999,null,null,22.7,12,0.28000000000000003,19,8.3000000000000007,85,65,null,1500,23316022]
[null,"VE19","2023-09-27","M",12.7,null,null,25.4,11,0.2,15,8.9,84,38,null,1100,23391485]
[null,"VE19","2023-10-24","M",8.6,null,null,20.2,5,0.25,17,9.5,82,56,null,1800,23429848]
[null,"VE19","2023-12-27","M",1.4,null,null,14.2,3.6,0.21,13,12.48,89.4,25,null,1500,23541198]
["Verkasjön","VES yta","2023-08-01",null,19.899999999999999,1.5,12,11.6,1.8,0.13,11,8.8000000000000007,"-",30,4,900,23327535]
[]
["Verkeån, bifl från Eljaröds ARV","VE10","2023-04-21","M",5.7,null,null,21.2,2.6,null,null,12.8,102,17,null,1500,23159766]
[null,"VE10","2023-10-24","M",9.3000000000000007,null,null,32.700000000000003,3.5,null,null,10.6,93,34,null,3000,23429847]
["Verkeån uppst Brösarp ARV","VE7","2023-02-17","M",5,null,null,26.7,3.4,0.15,9.6999999999999993,11.8,94,34,null,2400,23067070]
[null,"VE7","2023-04-21","M",8.8000000000000007,null,null,29.5,3.5,0.13,7.6,11.1,95,21,null,1600,23159767]
[null,"VE7","2023-05-23","M",10.3,null,null,36.299999999999997,3.6,7.0000000000000007E-2,5.3,9.9,88,23,null,1500,23215150]
[null,"VE7","2023-06-22","M",13.2,null,null,38.799999999999997,1.5,4.2999999999999997E-2,3.4,9.8000000000000007,93,17,null,1100,23256908]
[null,"VE7","2023-07-28","M",12,null,null,38.5,1.4,3.6999999999999998E-2,3.7,9.8000000000000007,92,14,null,1100,23301856]
[null,"VE7","2023-08-18","M",14.3,null,null,37.200000000000003,3,0.16,13,9.5,92,32,null,1700,23316023]
[null,"VE7","2023-09-27","M",10.6,null,null,39.6,1.3,5.7000000000000002E-2,5,9.4,83,13,null,1200,23391486]
[null,"VE7","2023-10-24","M/H",9.3000000000000007,null,null,28.4,6.7,0.33,19,11,95,46,null,3200,23429843]
[null,"VE7","2023-12-27","H",3,null,null,19.399999999999999,3.8,0.28999999999999998,15,13.26,98.1,30,null,2000,23541199]
["Verkeån nedst Brösarp ARV","VE1","2023-02-17","M",5.2,null,null,29.6,6.3,0.11,9,11.9,95,30,null,2300,23067071]
[null,"VE1","2023-04-21","M",8.4,null,null,33.4,3.8,9.6000000000000002E-2,6.4,11.5,97,21,null,1600,23159768]
[null,"VE1","2023-05-23","M",9.8000000000000007,null,null,38.6,1.7,5.6000000000000001E-2,3.9,10.3,91,18,null,1500,23215151]
[null,"VE1","2023-06-22","M",12.7,null,null,40.6,0.97,3.6999999999999998E-2,2.6,9.5,89,20,null,1200,23256910]
[null,"VE1","2023-07-28","M",11.3,null,null,40.700000000000003,1.1000000000000001,2.4E-2,2.7,9.1999999999999993,85,21,null,1400,23301857]
[null,"VE1","2023-08-18","M",13.1,null,null,38.9,2.2000000000000002,0.12,9.9,9.4,86,31,null,1700,23316024]
[null,"VE1","2023-09-27","M",10.5,null,null,41,0.87,4.1000000000000002E-2,3.7,9.6,85,16,null,1300,23391487]
[null,"VE1","2023-10-24","M",9,null,null,29.2,4.5999999999999996,0.28000000000000003,18,10.9,94,44,null,3100,23429841]
[null,"VE1","2023-12-27","H",3.3,null,null,19.100000000000001,4.5,0.23,14,13.15,98.1,32,null,2000,23541200]
["Klammersbäck vid väg 9","KL3","2023-04-21","M",6.6,null,null,30.5,5,null,null,12.6,101,67,null,4800,23159781]
[null,"KL3","2023-10-24","M",9.5,null,null,28.7,5.2,null,null,10.6,92,96,null,4200,23429845]
["Mölleån vid väg 9","MÖ1","2023-04-21","M",6.5,null,null,31.4,7.1,null,null,12.7,102,62,null,5200,23159782]
[null,"MÖ1","2023-10-24","M",9.3000000000000007,null,null,40.799999999999997,1,null,null,10.199999999999999,88,42,null,4300,23429846]
["Rörums norra å vid väg 9","RN3","2023-04-21","M",6.3,null,null,35.200000000000003,1.8,null,null,12.9,104,42,null,4400,23159784]
[null,"RN3","2023-10-24","M",9.6999999999999993,null,null,50.3,1.3,null,null,10.8,96,46,null,8500,23429858]
["Rörums södra å, nedst St Olof ARV","RS2","2023-02-17","M",4.5999999999999996,null,null,21.1,15,0.17,12,11.6,92,55,null,2800,23067075]
[null,"RS2","2023-04-21","M",7.5,null,null,20.100000000000001,3,0.18,11,11.4,96,24,null,2500,23159783]
[null,"RS2","2023-05-23","M",11.1,null,null,28.8,2.1,0.12,6.3,9.8000000000000007,91,33,null,3700,23215157]
[null,"RS2","2023-06-22","M",16.2,null,null,38.299999999999997,3,6.3E-2,4.9000000000000004,7.8,80,37,null,6700,23256921]
[null,"RS2","2023-07-28","M",15,null,null,41,2.2000000000000002,4.1000000000000002E-2,4.5,8.4,85,38,null,8600,23301861]
[null,"RS2","2023-08-18","M",15.4,null,null,43.1,3.3,7.3999999999999996E-2,7.4,9,90,33,null,7000,23316028]
[null,"RS2","2023-09-27","M",14.4,null,null,38.700000000000003,2.6,5.1999999999999998E-2,4.9000000000000004,8.5,84,30,null,2700,23391492]
[null,"RS2","2023-10-24","M",9.4,null,null,30.7,1.8,0.18,14,9.6,85,33,null,3000,23429857]
[null,"RS2","2023-12-27","H",2.7,null,null,18,2.5,0.21,14,12.29,91,33,null,2500,23541204]
["Rörums södra å vid Rödingsborg","RS1","2023-04-21","M",7.7,null,null,32.4,3.6,null,null,12,99,30,null,3400,23159785]
[null,"RS1","2023-10-24","M",9.8000000000000007,null,null,39.6,1.8,null,null,10.8,95,20,null,3800,23429864]
["Oderbäcken","OD1","2023-04-21","M",7.5,null,null,74,9.6999999999999993,null,null,12.5,100,39,null,4000,23159786]
[null,"OD1","2023-10-24","M",9.5,null,null,77,6.9,null,null,10.5,92,110,null,2500,23429881]
["Tunbyholmssjön","TUS yta","2023-08-01",null,19.600000000000001,1.5,17,38.1,5.7,6.7000000000000004E-2,13,8.6,"-",18,3.7,1100,23327534]
[]
["Gyllebosjön","GYS yta","2023-08-01",null,20.100000000000001,3.5,9,33,1.7,5.8000000000000003E-2,7.7,9,"-",18,6.5,670,23327536]
[]
["Tommarpsån, Listarumsån","TO13","2023-04-21","M",9,null,null,46.8,3.8,null,null,10.5,91,36,null,1900,23159791]
[null,"TO13","2023-10-24","M",9.6,null,null,60.7,1.3,null,null,7.9,69,27,null,1200,23429892]
["Tommarpsån vid Högvalla","TO14","2023-04-21","M",9.4,null,null,36.1,3.7,null,null,12.1,105,17,null,2200,23159792]
[null,"TO14","2023-10-24","M",9.3000000000000007,null,null,46.5,2.4,null,null,10,87,23,null,2900,23429893]
["Tommarpsån vid Komstadsmölla","TO10","2023-02-17","H",4.5999999999999996,null,null,38.4,3.3,8.2000000000000003E-2,6.9,11.3,90,30,null,3700,23067077]
[null,"TO10","2023-04-21","M",9.3000000000000007,null,null,39.200000000000003,4.5999999999999996,0.1,7,11.6,100,29,null,3100,23159790]
[null,"TO10","2023-05-23","M",14.7,null,null,45.8,4.5999999999999996,5.6000000000000001E-2,6.3,9.8000000000000007,97,39,null,2400,23215159]
[null,"TO10","2023-06-22","M",20.399999999999999,null,null,45.8,2.5,6.9000000000000006E-2,6.8,8.3000000000000007,93,56,null,1800,23256927]
[null,"TO10","2023-07-28","M",16.3,null,null,44.9,2.4,6.5000000000000002E-2,5.8,8.9,92,47,null,1600,23301863]
[null,"TO10","2023-08-18","M",17.7,null,null,45.2,2.2000000000000002,7.1999999999999995E-2,7.9,8.6,90,40,null,1300,23354738]
[null,"TO10","2023-09-27","M",14.4,null,null,50.3,7.4,5.8999999999999997E-2,6.8,8.8000000000000007,86,70,null,1600,23391496]
[null,"TO10","2023-10-24","M/H",10,null,null,48.6,2.9,0.1,9.5,9.9,87,92,null,3300,23429890]
[null,"TO10","2023-12-27","H",2.7,null,null,32.4,2.2000000000000002,0.12,9.6,11.96,88.3,23,null,4600,23541206]
["Tommarpsån, bifl från Hammenhög","TO8","2023-04-21","M",9.6,null,null,77.099999999999994,1.3,null,null,15.2,132,14,null,8100,23159789]
[null,"TO8","2023-10-24","M",11.8,null,null,78.3,21,null,null,9.6,89,96,null,4000,23429888]
["Tommarpsån vid Hamnabro","TO2","2023-02-17","M",5.0999999999999996,null,null,54.3,7.6,5.8000000000000003E-2,5.6,12.1,96,59,null,6500,23067076]
[null,"TO2","2023-04-21","M",7.6,null,null,55.3,2.2000000000000002,5.5E-2,4.8,12.7,105,22,null,5100,23159787]
[null,"TO2","2023-05-23","M",13.1,null,null,62.4,4.5999999999999996,0.04,4.5999999999999996,10.4,99,32,null,4700,23215158]
[null,"TO2","2023-06-22","M",19.899999999999999,null,null,64,3.4,5.0999999999999997E-2,5,8.9,97,85,null,3800,23256925]
[null,"TO2","2023-07-28","M",16.7,null,null,60.1,2.9,4.2999999999999997E-2,4.9000000000000004,8.3000000000000007,86,71,null,3300,23301862]
[null,"TO2","2023-08-18","M",17.100000000000001,null,null,60.7,2.6,6.0999999999999999E-2,5.8,8.5,87,77,null,2500,23316029]
[null,"TO2","2023-09-27","M",14.3,null,null,64.900000000000006,2.7,4.8000000000000001E-2,4.3,8.9,85,63,null,3000,23391493]
[null,"TO2","2023-10-24","M",9.4,null,null,64.5,3.1,6.8000000000000005E-2,5.8,10.199999999999999,89,72,null,3200,23429884]
[null,"TO2","2023-12-27","H",3.5,null,null,50.1,3.8,0.06,7,12.85,96.1,39,null,8700,23541205]
["Kvarnbybäcken vid Skillinge","KV1","2023-04-21","M",8.9,null,null,81.5,1.4,null,null,13.6,115,13,null,5600,23159788]
[null,"KV1","2023-10-24","M",10.9,null,null,90.5,2.1,null,null,10.6,96,38,null,2800,23429886]
[]
[]
[null,"Rastrering motsvarar bedömning enligt Naturvårdsverkets bedömningsgrunder (Rapport 4913, 1999)"]
[null,"Bedömningen av kväve- och fosforhalter har gjorts utifrån sjöar maj-oktober,"]
[null,"Rastrering",null,"Parameter",null,"Bedömning",null,null,null,null,null,null,"Halt/Värde",null,null,"Enhet"]
[null,"Klass 5 av 5"]
[null,"x,x",null,"pH",null,"Mycket surt",null,null,null,null,null,null,"<",5.6]
[null,null,null,"Alk",null,"Ingen eller obetydlig buffertkapacitet",null,null,null,null,null,null,"<",0.02,null,"mekv/l"]
[null,null,null,"Turbiditet",null,"Starkt grumligt vatten",null,null,null,null,null,null,">",7,null,"FNU"]
[null,null,null,"Absorbans",null,"Starkt färgat vatten",null,null,null,null,null,null,">",0.2,null,"/5cm"]
[null,null,null,"TOC",null,"Mycket hög halt",null,null,null,null,null,null,">",16,null,"mg/l"]
[null,null,null,"Syrgashalt",null,"Syrefritt eller nästan syrefritt tillstånd",null,null,null,null,null,null,"<",1,null,"mg/l"]
[null,null,null,"Siktdjup",null,"Mycket litet siktdjup",null,null,null,null,null,null,"<",1,null,"m"]
[null,null,null,"Klorofyll",null,"Mycket hög halt",null,null,null,null,null,null,">",25,null,"µg/l"]
[null,null,null,"Tot-N",null,"Extremt hög halter",null,null,null,null,null,null,">",5000,null,"µg/l"]
[null,null,null,"Tot-P",null,"Extremt hög halter",null,null,null,null,null,null,">",100,null,"µg/l"]
[]
[null,"Klass 4 av 5"]
[null,"x,x",null,"pH",null,"Surt",null,null,null,null,null,5.6,"-",6.2]
[null,null,null,"Alk",null,"Mycket svag buffertkapacitet",null,null,null,null,null,0.02,"-",0.05,null,"mekv/l"]
[null,null,null,"Turbiditet",null,"Betydligt grumligt vatten",null,null,null,null,null,2.5," - ",7,null,"FNU"]
[null,null,null,"Absorbans",null,"Betydligt färgat vatten",null,null,null,null,null,0.12," - ",0.2,null,"/5cm"]
[null,null,null,"TOC",null,"Hög halt",null,null,null,null,null,12," - ",16,null,"mg/l"]
[null,null,null,"Syrgashalt",null,"Syrefattigt tillstånd",null,null,null,null,null,"1","-","3",null,"mg/l"]
[null,null,null,"Tot-N",null,"Mycket hög halt",null,null,null,null,null,1250,"-",5000,null,"µg/l"]
[null,null,null,"Tot-P",null,"Mycket hög halt",null,null,null,null,null,50,"-",100,null,"µg/l"]

{"sheet":"Metaller","index":2,"n_rows":46,"n_cols":13,"rows_kept":46,"cut":false,"hidden":false,"merged":[]}
["Österlens Vattenråd - RECIPIENTKONTROLL  2023"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Prov-"]
["PROVPUNKT","ID","Datum","Cu","Zn","Cd","Pb","Cr","Ni","Hg","Si","nummer"]
[null,null,null,"µg/l","µg/l","µg/l","µg/l","µg/l","µg/l","µg/l","mg/l"]
["Segesholmsån nedst Degeberga ARV","SE1","2023-02-17","","","","","","","",null,"","inget prov"]
[null,"SE1","2023-04-21",0.99,1.2,0.02,0.11,0.14000000000000001,0.3,"<0,1",null,23159780]
[null,"SE1","2023-05-23",0.86,1.1000000000000001,1.6E-2,8.5999999999999993E-2,0.13,0.2,"<0,1",null,23215155]
[null,"SE1","2023-06-22",0.93,1.3,1.6E-2,9.8000000000000004E-2,0.14000000000000001,0.22,"<0,1",null,23256915]
[null,"SE1","2023-07-28",0.77,"<1",0.01,0.06,0.13,"<0,2","<0,1",null,23301859]
[null,"SE1","2023-08-18",1.1000000000000001,1.4,1.2999999999999999E-2,8.4000000000000005E-2,0.15,0.28000000000000003,"<0,1",null,23316026]
[null,"SE1","2023-09-27",0.71,"<1",1.0999999999999999E-2,4.8000000000000001E-2,0.14000000000000001,"<0,2","<0,1",null,23391490]
[null,"SE1","2023-10-24",1.7,2.5,3.1E-2,0.23,0.23,0.56999999999999995,"<0,1",null,23429828]
[null,"SE1","2023-12-27",1.4,3.1,3.3000000000000002E-2,0.18,0.24,0.5,"<0,1",null,23541202]
["Verkasjön","VES yta","2023-08-01",null,null,null,null,null,null,null,0.18,23327535]
[]
["Verkeån nedst Brösarps ARV","VE1","2023-02-17","","","","","","","",null,"","inget prov"]
[null,"VE1","2023-04-21"," - "," - "," - "," - "," - "," - "," - ",null,23159768]
[null,"VE1","2023-05-23",0.87,4.9000000000000004,0.06,0.5,0.14000000000000001,0.59,"<0,1",null,23215151]
[null,"VE1","2023-06-22",0.55000000000000004,2.2999999999999998,3.1E-2,0.2,0.12,0.39,"<0,1",null,23256910]
[null,"VE1","2023-07-28",0.49,2,2.8000000000000001E-2,0.16,0.13,0.36,"<0,1",null,23301857]
[null,"VE1","2023-08-18",1.3,4.7,6.9000000000000006E-2,0.49,0.17,0.93,"<0,1",null,23316024]
[null,"VE1","2023-09-27",0.6,2.1,2.5000000000000001E-2,0.15,0.14000000000000001,0.49,"<0,1",null,23391487]
[null,"VE1","2023-10-24",2.2999999999999998,9.6,0.12,1.1000000000000001,0.3,1.4,"<0,1",null,23429841]
[null,"VE1","2023-12-27",2.1,15,0.18,1.3,0.31,1.3,"<0,1",null,23541200]
["Rörums södra å nedst St Olof ARV","RS2","2023-02-17","","","","","","","",null,"","inget prov"]
[null,"RS2","2023-04-21",2,22,0.47,1.3,0.21,1.2,"<0,1",null,23159783]
[null,"RS2","2023-05-23",2,19,0.51,1.2,0.16,1.1000000000000001,"<0,1",null,23215157]
[null,"RS2","2023-06-22",1.9,22,0.54,0.96,0.14000000000000001,1,"<0,1",null,23256921]
[null,"RS2","2023-07-28",1.8,20,0.44,0.67,0.13,0.88,"<0,1",null,23301861]
[null,"RS2","2023-08-18",1.7,19,0.51,0.79,0.13,1.1000000000000001,"<0,1",null,23316028]
[null,"RS2","2023-09-27",1.6,17,0.52,0.68,0.14000000000000001,1,"<0,1",null,23391492]
[null,"RS2","2023-10-24",2.5,20,0.38,0.5,0.26,1.5,"<0,1",null,23429857]
[null,"RS2","2023-12-27",2.5,27,0.54,1.5,0.32,1.4,"<0,1",null,23541204]
["Tunbyholmssjön","TUS yta","2023-08-01",null,null,null,null,null,null,null,0.39,23327534]
[]
["Gyllebosjön","GYS yta","2023-08-01",null,null,null,null,null,null,null,0.46,23327536]
[]
[]
[]
[]
["Rastreringen motsvarar bedömningen enligt Naturvårdsverkets bedömningsgrunder (Rapport 4913)"]
["Bedömning","Enhet","Rastrering","Pb","Cd","Cu","Cr","Ni","Zn"]
["måttligt höga halter","µg/l","x,x","1-3","0,1-0,3","3-9","5-15","15-45","20-60"]
["höga halter","µg/l","x,x","3-15","0,3-1,5","9-45","15-75","45-225","60-300"]
["mycket höga halter","µg/l","x,x",">15",">1,5",">45",">75",">225",">300"]

{"sheet":"Samlade månadskommentarer","index":3,"n_rows":1,"n_cols":1,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["Österlens Vattenråd - RECIPIENTKONTROLL  2023"]

{"sheet":"Syreprofiler","index":4,"n_rows":57,"n_cols":4,"rows_kept":57,"cut":false,"hidden":false,"merged":[[2,0,2,1]]}
["Österlens Vattenråd - RECIPIENTKONTROLL  2023"]
[]
["SYREPROFILER"]
[]
["Verkasjön VES",null,null,"Koordinater:"]
[null,null,null,"6178030; 1385597"]
[]
[null,"2023-08-01"]
[null,"Djup (m)","Temp (°C)","Syrehalt (mg/l)"]
[null,0.5,19.899999999999999,8.8000000000000007]
[null,1,19.899999999999999,8.8000000000000007]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Tunbyholmssjön TUS",null,null,"Koordinater:"]
[null,null,null,"6164262; 1385597"]
[]
[null,"2023-08-01"]
[null,"Djup (m)","Temp (°C)","Syrehalt (mg/l)"]
[null,0.5,19.600000000000001,8.6]
[null,1,19.5,8.4]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Gyllebosjön GYS",null,null,"Koordinater:"]
[null,null,null,"6164494; 1398399"]
[]
[null,"2023-08-01"]
[null,"Djup (m)","Temp (°C)","Syrehalt (mg/l)"]
[null,0.5,20.100000000000001,9]
[null,1,20,9]
[null,2,19.899999999999999,8.6999999999999993]
[null,3,19.8,8.6999999999999993]
[null,4,19.7,8]
[null,5,19.600000000000001,7.2]
[null,6,19.399999999999999,6.2]
[null,7,18.2,0.8]
[null,8,14.7,0.2]
[null,9,12.4,0.2]